## Station_Metadata
GEMS Station Number | Historical GEMS Number | Local Station Number | Country Name | Water Type | Station Identifier | Station Narrative | Water Body Name | Main Basin | Upstream Basin Area | Elevation | Monitoring Type | Date Station Opened | Responsible Collection Agency | Latitude | Longitude | River Width | Discharge | Max. Depth | Lake Area | Lake Volume | Average Retention | Area of Aquifer | Depth of Impermeable Lining | Production Zone | Mean Abstraction Rate | Mean Abstraction Level
ARG00028 |  | RHN00604 | Argentina | River station | AGUAS BLANCAS |  |  | LA PLATA |  | 512 | TREND | NaT | Ministerio de Obras Públicas - Subsecretario de Planificación y Gestión Operativa de Proyectos Hídricos | -22.725 | -64.3647
HRV00026 |  | HR21030 | Croatia | River station | AKUMULACIJA BOROVIK |  |  | DANUBE |  |  | TREND | 2000-01-01 |  | 45.3901 | 18.1942
ZAF00168 |  | 102677 | South Africa | River station | Mvoti River at Mistley | High up on the Mvoti River. It is also an area in which there is a wetland. - Water Quality Station U4H002Q01, Dept. of Water and Sanitation (DWS) 2020. WMS site ID 102677 |  |  |  | 976 | TREND | 1977-06-15 | Department of Water and Sanitation | -29.1617 | 30.6297
ITA00277 |  | IT12F4_08 | Italy | River station | ARPA-13991 FIUME TEVERE 3 | [5 empty] | TREND | 2013-01-01 |  | 42.1503 | 12.6379
VNM00011 | 149011 | H988110 | Viet Nam | River station | Canal No. 28 - My An (Plains of Reeds) | Mekong Secretariat Station H988110, data received 1994 from Project Officer, Mekong Secretariat |  | NHA BE-SAIGON-SONG VAM CO DONG |  |  | TREND | 1986-03-13 | Mekong River Commission - Mekong Secretariat | 10.5206 | 105.8372
USA00147 | 028147 |  | United States of America (the) | River station | Black Warrior River - AL | Black Warrior River below Bankhead L/D near Bessemer, Alabama. USGS STN. 02462501, altitude 173.50ft, May 2004 |  | MOBILE RIVER | 10310 |  | TREND | 1998-08-28 | United States Geological Survery - Office of Water Quality | 33.4567 | -87.355 |  | 94.9
HRV00027 |  | HR21085 | Croatia | River station | BEDNJA, MALI BUKOVEC |  |  | DANUBE |  |  | TREND | 2000-01-01 |  | 46.291 | 16.7383
MYS00001 | 082001 |  | Malaysia | River station | Klang River | At Sulaiman bridge No. 3116630 |  |  | 525 | 25.6 | IMPACT | 1979-02-07 |  | 3.1389 | 101.6972 | 30.8 | 16
USA00144 | 028144 |  | United States of America (the) | River station | Cahaba River - AL | Cahaba River at Centreville, Alabama. USGS STN. 02424000, altitude 180.74ft, May 2004 |  | MOBILE RIVER | 2660 |  | TREND | 1998-08-27 | United States Geological Survery - Office of Water Quality | 32.945 | -87.1392 |  | 11.3
ITA00315 |  | IT22SGLN0004 | Italy | Lake station | LAGO DI LEVICO |  |  | BRENTA-BACCHIGLIONE |  |  | TREND | 2010-01-01 |  | 46.0163 | 11.275 |  |  |  | 1.09
VNM00034 | 149034 | H988315 | Viet Nam | River station | My Lam (Long Xuyen Quarangle) | Mekong Secretariat Station H988315, data received 1994 from Project Officer, Mekong Secretariat |  |  |  |  | TREND | 1991-08-15 | Mekong River Commission - Mekong Secretariat | 10.0533 | 105.085
ZAF00209 |  | 101808 | South Africa | River station | Caledonspoort 190 the Poplars 199 at the Poplars o | Site high on the Little Caledon River (border between Lesotho and SA). - Water Quality Station D2H012, Dept. of Water and Sanitation (DWS) 2020. WMS site ID 101808 |  | ORANGE |  | 1608 | TREND | 1971-09-24 | Department of Water and Sanitation | -28.6948 | 28.2349
ITA00318 |  | ITAL5 | Italy | River station | ALENTO | [5 empty] | TREND | 2016-01-01 |  | 40.1728 | 15.139
ROU00063 |  | RO43900 | Romania | River station | ALBA IULIA AMONTE |  |  | DANUBE |  | 222 | TREND | NaT | European Environment Agency | 46.0743 | 23.6221
CHE00098 |  | CHRW-5045 | Switzerland | River station | OBERDORF ENNERBERG |  |  | RHINE-MEUSE |  |  | TREND | 1980-01-01 |  | 46.9628 | 8.3871
NLD00371 |  | NL38_OKIEVLO100 | Netherlands (the) | River station | AA EEUWSELSE LOOP EN KIEVITSLOOP |  |  | RHINE-MEUSE |  | 26 | TREND | NaT | European Environment Agency | 51.3268 | 5.7326
KEN00020 |  | 1GB Misc | Kenya | River station | Ainopngetuny |  |  | NILE |  | 1322 | IMPACT | NaT |  | -0.02966 | 35.1795
MAR00005 | 077005 |  | Morocco | Groundwater station | Artesian Well - Ire 4/125 | Nappe Dakhla Quartzose aquifer, 1775 km from Rabat and 525 km from Layoune |  |  |  |  | BASELINE | 1983-12-02 | Office National de l¿Eau Potable - Laboratoire de la Qualité des Eaux | 23.7 | -15.9167 | [7 empty] | 398 |  | 3290
BEL00132 |  | BEVL_VMM_93000 | Belgium | River station | 93000 IN DOMMEL - BOVEN DOMMEL IN OVERPELT |  |  | RHINE-MEUSE |  | 51 | TREND | NaT | European Environment Agency | 51.1725 | 5.4365
BEL00015 | 051016 |  | Belgium | River station | Brugge River - Canal Leopold | Ramskapelle, Vaartdijk near border of Zeebrugge, Flemish Environment Agency, Flemish Region - VMM 6000, February 2005 |  |  | 291 | 3.7 | TREND | 1978-01-01 | Flemish Environment Agency - International Water Reporting, Monitoring & Reasearch Department | 51.325 | 3.2294 | 32
MEX03217 |  | OCLSP3963 | Mexico | River station | BOLAÑOS RIVER CHIMALTITAN BRIDGE |  |  | SANTIAGO-LERMA-CHAPALA |  | 856 | TREND | NaT | Comisión Nacional del Agua | 21.7751 | -103.7846
SRB00024 |  | RS47040 | Serbia | River station | BAGRDAN |  |  | DANUBE |  |  | TREND | NaT |  | 44.0683 | 21.2033
SEN00001 | 100001 |  | Senegal | Lake station | Lake Guiers | 250 m from Lake Guiers Angnith, 280 km from Dakar treatment plant |  | SENEGAL |  | 0.8 | TREND | 1971-06-01 | Sénégalaise des Eaux | 15.0667 | -15.4167 |  |  | 20 | 350 | 0.3 | 1
CHL00208 |  | 05737017-3 | Chile | Groundwater station | AGRICULTURAL WELL BROTHERS POBLETE |  |  |  |  | 436 | TREND | NaT | Dirección General de Aguas | -33.5713 | -70.822
MLI00011 | 099011 |  | Mali | Groundwater station | Drilled Well No. 6 - Nossombougou |  |  | NIGER |  |  | TREND | 1992-01-01 | Ministère de l¿Environnement, de l'Eau et de l¿Assainissement - Direction Nationale de l'Hydraulique du Mali | 13.1 | -7.95
CHN00011 | 005011 |  | China | River station | Qiantang River - Hangzhou | To the east sea estuary, East-southern of Hangzhou city. Influenced by sea tide. River length 428 km. |  |  | 42156 |  | FLUX | 1988-01-03 | Ministry of Environmental Protection of the People's Republic of China - China National Environmental Monitoring Center | 30.2 | 120.1333 | 1500 | 1225
CHN00006 | 005006 |  | China | River station | Hai He River - Tianjin | To the Bohai Sea estuary. Influenced seriously by sea tide. Mouth of Hais Lock. River length 1090 km. |  | LUAN HE | 263631 |  | FLUX | 1988-02-10 | Ministry of Environmental Protection of the People's Republic of China - China National Environmental Monitoring Center | 40.5333 | 117.45 | 76 | 461
USA00396 | 028396 |  | United States of America (the) | River station | Bear River - Corinne UT | Bear River near Corinne, Utah. USGS STN. 10126000, altitude 4204.60ft, May 2004. |  | GREAT SALT LAKE | 18204 |  | TREND | 1998-08-07 | United States Geological Survery - Office of Water Quality | 41.5764 | -112.1 |  | 6.4
CUB00002 | 006002 |  | Cuba | Groundwater station | Cura Spring | Located in the center between the Habana Provinces, in City of Habana, operated by Tunnel Excavated until the spring |  |  |  | 63 | BASELINE | 1994-04-29 | National Instutite for Hydraulic Resources - Supply and Water Quality | 22.9908 | -82.3967 | [6 empty] | 452 | 12 | 16 | 2445 | 48
HRV00020 |  | HR16572 | Croatia | River station | DOBRA, LEŠCE |  |  | DANUBE |  |  | TREND | 2000-01-01 |  | 45.3728 | 15.3556
CHN00004 | 005004 |  | China | Lake station | Lake Tai | 30 km southwest of Wuxi. Nearby Jiao Shan (B) |  |  |  | 7.2 | BASELINE | 1980-01-01 | Ministry of Environmental Protection of the People's Republic of China - China National Environmental Monitoring Center | 31.3167 | 120.1 |  |  | 4.9 | 2480 | 7.3 | 2.5
VNM00019 | 149019 | H988104 | Viet Nam | River station | An Long Canal - An Long (Plains of Reeds) | Mekong Secretariat Station H988104, data received 1994 from Project Officer, Mekong Secretariat |  | MEKONG |  |  | TREND | 1986-03-13 | Mekong River Commission - Mekong Secretariat | 10.6931 | 105.3925
SEN00004 | 100004 |  | Senegal | Groundwater station | Drilled Well N6 - at Pout Nord |  |  |  |  | 36.5 | TREND | 1986-06-23 | Sénégalaise des Eaux | 14.45 | -17 | [7 empty] | 492 |  | 4800
AUS00006 | 033006 |  | Australia | Reservoir station | Mount Bold Reservoir | 500 m upstream of reservoir outlet - 5m integrated sample. |  |  |  | 247 | IMPACT | 1970-01-05 | Department of the Environment and Heritage - Water Policy Section | -35.1167 | 138.6833 |  |  | 47.5 | 3.1 | 0.05 | 0.3
SDN00002 | 078002 |  | Sudan (the) | River station | Blue Nile River - at Khartoum | At gauging station upstream Blue Nile Bridge |  | NILE | 85520 | 374 | IMPACT | 1906-01-01 | Ministry of Health - National Chemical Laboratories | 15.5 | 32.4633 | 450 | 3360
ARG00043 |  | RHN01211 | Argentina | River station | KM 101 |  |  | COLORADO (SOUTH ATLANTIC) |  | 1261 | TREND | NaT | Ministerio de Obras Públicas - Subsecretario de Planificación y Gestión Operativa de Proyectos Hídricos | -31.2531 | -69.1783
DNK00002 | 008002 | 54.01 | Denmark | River station | Odense River - Nr Broby | Station No. 45.01 |  |  |  |  | TREND | 1980-06-19 | Ministry of Environment - National Environmental Research Institute | 55.25 | 10.2394
ZAF00221 |  | 102522 | South Africa | River station | Potsdam Ndantsane at Mhlabati Needs Camp on Buffal | One of the lowest sites on the Buffalo River. Is influenced by the dam so the flow shouldn’t be used. - Water Quality Station R2H027, Dept. of Water and Sanitation (DWS) 2020. WMS site ID 102522 |  |  |  | 164 | TREND | 1994-06-08 | Department of Water and Sanitation | -32.9916 | 27.64
GRC00442 |  | EL001200040B240110H500 | Greece | River station | NESTOS MD |  |  | NESTOS |  | 45 | TREND | NaT | European Environment Agency | 41.0899 | 24.776
ROU00021 |  | RO113600 | Romania | River station | ADANCATA |  |  | DANUBE |  | 60 | TREND | NaT | European Environment Agency | 44.7592 | 26.445
RUS00027 | 026027 |  | Russian Federation (the) | River station | Mezen River | At Makarib Village. Coincide with flow measurement station. |  | MEZEN | 6450 | 104.6 | BASELINE | 1964-01-01 | State Hydrochemical Institute | 63.6306 | 49.4528 | 76 | 80
MEX02234 |  | OCAVM2772 | Mexico | River station | A.A. MADIN DAM |  |  | PANUCO |  | 2331 | TREND | NaT | Comisión Nacional del Agua | 19.5269 | -99.2553
IND00598 |  | CPCB_1789 | India | Reservoir station | HIMAYAT SAGAR LAKE R.R.DIST. |  |  | KRISHNA |  | 32 | TREND | 2020-09-04 | Ministry of Environment & Forests - Central Pollution Control Board | 17.3069 | 78.3648
ZWE00006 | 306006 |  | Zimbabwe | Lake station | Lake Kariba - Antelope Island | University of Zimbabwe - Biological Science Department - September 2009. Length = 227 km. Thermal Stratification=Oct-June |  | ZAMBEZI |  | 29.2 | TREND | 2008-04-04 | University of Zimbabwe - Biological Science Dept | -16.6039 | 28.9064 |  |  | 97 | 5364
IND00234 |  | CPCB_1081 | India | River station | BAITARNI AT JODA |  |  | BRAHMANI |  | 64 | TREND | 2020-09-04 | Ministry of Environment & Forests - Central Pollution Control Board | 22.0187 | 85.407
CHL00718 |  | 05426003-2 | Chile | River station | ACONCAGUA RIVER IN PUENTE COLMO |  |  |  |  | 20 | TREND | NaT | Dirección General de Aguas | -32.923 | -71.4416
USA00405 | 028405 |  | United States of America (the) | River station | Carson River - Fort Churchill NV | Carson River near Fort Churchill, Nevada. USGS STN. 10312000, altitude 4180.00ft, May 2004. |  |  | 3755 |  | TREND | 1992-09-14 | United States Geological Survery - Office of Water Quality | 39.2931 | -119.2506 |  | 0.2
FIN00022 |  | FI34018 | Finland | Lake station | REHJANSELKA 135 |  |  | OULU |  |  | TREND | NaT |  | 64.219 | 27.8791 |  |  | 42 | 96.08
SWE00043 |  | SE641071-127372 | Sweden | River station | ALELYCKAN | [5 empty] | IMPACT | 2000-12-22 |  | 57.7639 | 12.0024
GBR00063 |  | UKZ1011402 | United Kingdom of Great Britain and Northern Ireland (the) | River station | AVON |  |  | AVON |  |  | TREND | NaT |  | 51.3498 | -2.3139
GBR00030 |  | UK3068 | United Kingdom of Great Britain and Northern Ireland (the) | Lake station | R FENNS BANK WHEATSHEA | [5 empty] | TREND | NaT |  | 52.9439 | -2.7373
BRA02175 |  | GAV16 | Brazil | Reservoir station | Açude Gavião Reservoir - GAV16 | No Detailed Information Available |  |  |  | 0 | TREND | NaT |  | -4.5678 | -38.9546
NLD00236 |  | NL12_001003 | Netherlands (the) | Lake station | ALKMAARDERMEER |  |  |  |  | -1 | TREND | NaT | European Environment Agency | 52.5579 | 4.7531
ITA00347 |  | IT01046165 | Italy | River station | MOLINI DI FELIZZANO |  |  | PO |  | 95 | TREND | NaT | European Environment Agency | 44.8904 | 8.4394
CHE00074 |  | CHRW-2115 | Switzerland | River station | AIGLE, AUTOROUTE |  |  | RHONE |  |  | TREND | 1980-01-01 |  | 46.3243 | 6.936
AUT00059 |  | ATFW21531177 | Austria | River station | ARNOLDSTEIN |  |  | DANUBE |  |  | TREND | 2009-12-22 |  | 46.5655 | 13.6911
MEX04862 |  | DLHID6466 | Mexico | Reservoir station | ENDHÓ DAM 1 |  |  | PANUCO |  | 2024 | TREND | NaT | Comisión Nacional del Agua | 20.153 | -99.3606
KOR00009 | 150009 |  | Korea (the Republic of) | River station | Geum River - Ga Mak | [5 empty] | TREND | 2016-03-22 |  | 35.7989 | 127.5192
LAO00019 | 070019 | H010500 | Lao People's Democratic Republic (the) | River station | Mekong River - Houa Khong | Mekong Secretariat Station H010500 (2004-) |  | MEKONG |  |  | TREND | 2004-08-17 | Mekong River Commission - Mekong Secretariat | 21.5656 | 101.1433
DEU01827 |  | 060240131 | Germany | Groundwater station | AH/13 -WICHUM- |  |  |  |  | -9999 | TREND | NaT | German Environment Agency | 52.1426 | 7.0629
USA00603 |  | USGS-12447390 | United States of America (the) | River station | ANDREWS CREEK NEAR MAZAMA, WA |  |  | COLUMBIA |  | 1363 | TREND | NaT |  | 48.8229 | -120.1459
NOR00065 |  | NO012-89879 | Norway | River station | ALETJERN |  |  | DRAMSELVA |  | 226 | TREND | NaT | European Environment Agency | 59.7268 | 9.9422
IND02588 |  | 066-mgd2lkn | India | River station | Bithoor |  |  | GANGES-BRAHMAPUTRA-MEGHNA |  | 16 | TREND | 2019-12-12 | Government of India - Central Water Commission | 26.6169 | 80.2756
BRA01390 |  | BSJD02900 | Brazil | Reservoir station | Braço do Rio São José dos Dourados - BSJD02900 | Ponte na Rodovia dos Barrageiros entre os municípios de Ilha Solteira/Três Fronteiras. |  | LA PLATA |  | 323 | TREND | NaT |  | -20.2558 | -51.1528
CAN00344 |  | NW10UE0002 | Canada | River station | Owl River at Mouth | [5 empty] | TREND | NaT | Environment and Climate Change Canada | 66.8928 | -64.6883
SVN00001 |  | SIV2199 | Slovenia | River station | DRAVA ORMOŽ MOST |  |  | DANUBE |  |  | TREND | 2001-01-01 |  | 46.4031 | 16.155
GRC00085 |  | EL0002000400150030N500 | Greece | River station | DOUMENA |  |  |  |  | 645 | TREND | NaT | European Environment Agency | 38.0948 | 22.1646
GTM00075 | 044075 |  | Guatemala | River station | Achiguate River - Cenizas station | Achiguate river basin |  |  |  |  | TREND | 2016-03-22 | Ministerio de Comunicaciones Infraestructura Y Vivienda - Instituto Nacional de Sismología, Volcánología, Meteorología e Hidrolo | 14.2681 | -90.8967
MHL00001 | 167001 |  | Marshall Islands (the) | Groundwater station | Laura Lens Abstraction Well 1 | Located in the middle of Laura Village. Geology - uncemented grainstone, unlithified grainstone & wackestone, consolidated limestone. |  |  |  | 2 | TREND | 2007-01-30 | Republic of the Marshall Islands - Environmental Proctection Agency | 7.1428 | 171.0383 | [6 empty] | 0.9 | 1
AFG00062 | 304062 |  | Afghanistan | Groundwater station | Badghis - Well No. 2 | Water and Sanitation Program (WSP) - DACAAR 2005 (USGS, USAID, BGF funded). Manual method to measure water level. Well Depth = 29.0 |  | MURGAB |  |  | TREND | 2005-07-11 | DACAAR - Water and Sanitation Program | 34.7326 | 63.5342
PHL00004 | 020004 |  | Philippines (the) | River station | Cagayan River | At Carmen Bridge - Cagaya de Oro City |  |  | 95 | 0.6 | IMPACT | 1979-01-02 | Department of Environment and Natural Resources - Environmental Management Bureau | 8.4769 | 124.6383 | 145 | 262
PHL00002 | 020002 |  | Philippines (the) | Lake station | Laguna Lake | At north of Diablo Pass opposite Ticulo Elementary School |  |  |  | 10.5 | IMPACT | 1978-06-05 | Department of Environment and Natural Resources - Environmental Management Bureau | 14.4244 | 121.2239 |  |  | 2.8 | 900 | 2520 | 1
HUN00060 |  | HU101179055 | Hungary | River station | BABÓCSA |  |  | DANUBE |  |  | IMPACT | 2010-01-01 |  | 46.0393 | 17.353
IND01381 |  | CPCB_3321 | India | River station | NARMADA AT AMARKANTAKE FROM ORIGIN POINT REWA RIVE | Suspect Coordinates |  | MAHANDI |  | 16 | TREND | 2020-09-04 | Ministry of Environment & Forests - Central Pollution Control Board | 22.6726 | 81.7664
ARG00062 |  | RHN02001 | Argentina | River station | Barrancas |  |  | COLORADO (SOUTH ATLANTIC) |  | 975 | TREND | NaT | Ministerio de Obras Públicas - Subsecretario de Planificación y Gestión Operativa de Proyectos Hídricos | -36.8073 | -69.8936
IND02111 |  | 008-mgd2lkn | India | River station | Moradabad |  |  | GANGES-BRAHMAPUTRA-MEGHNA |  | 2 | TREND | 2021-05-28 | Government of India - Central Water Commission | 28.8255 | 78.7983
FIN00044 |  | FISW_180 | Finland | Lake station | AITTOSELKÄ, RUOVESI |  |  | KOKEMAENJOKI |  |  | TREND | 2009-12-10 |  | 62.0055 | 24.3623 |  |  |  | 25.01
AUT00070 |  | ATFW61400597 | Austria | River station | BRUCK/MUR LEOBNERBRÜCKE |  |  | DANUBE |  |  | TREND | 2009-12-22 |  | 47.407 | 15.2614
BGD00003 | 136003 |  | Bangladesh | River station | Brahmaputra River | Near Bahadurabad Ferryghat |  | GANGES-BRAHMAPUTRA-MEGHNA | 536000 |  | IMPACT | 1979-11-23 | Department of Environment | 25.1833 | 89.6667 | 4500 | 19000
MAR00002 | 077002 |  | Morocco | Reservoir station | Dam Sidi Mohamed B. Abdella - Oued Bou Regreg | Close to the catchment for L'Aep de Rabat Casa, the hydrological station Proche Lalla Chafia Ire 963/21 |  |  |  | 48.2 | TREND | 1978-01-06 | Office National de l¿Eau Potable - Laboratoire de la Qualité des Eaux | 33.9333 | -6.75 |  |  | 35 | 29 | 0.5 | 3.7
CHL00537 |  | 11022001-4 | Chile | River station | CALM RIVER ON AUSTRAL ROAD |  |  | BAKER |  | 212 | TREND | NaT | Dirección General de Aguas | -46.6221 | -72.6754
JPN00023 | 080023 |  | Japan | River station | Chikugo River - at Senoshita | 2.5 km from Kurume City office |  |  | 2295 | 2 | TREND | 1968-01-20 | National Institute for Environmental Studies - Center for Global Environment Research | 33.3156 | 130.4958 | 200 | 70
FRA00136 |  | FRJR08203101 | France | River station | AMONT CONFLUENCE PIROGUE |  |  |  |  | 150 | TREND | NaT | European Environment Agency | 14.7781 | -61.0556
CRI00049 |  | FC-REV-04 | Costa Rica | River station | Agua Caliente river at Cartago, Cartago | At Puente Negro, Dulce Nombre |  | REVENTAZÓN |  | 1066 | BASELINE | 2016-08-05 |  | 9.808 | -83.8709
LKA00044 | 076044 |  | Sri Lanka | River station | Dandugamoya River - Sampling Point 1 | at Kirindivita Bridge |  |  |  |  | TREND | 2011-03-31 | Ministry of Environment & Natural Resources - Central Environment Authority | 7.0933 | 79.9711
GRC01475 |  | EL10081039 | Greece | Groundwater station | A4 |  |  |  |  | 14 | TREND | NaT | European Environment Agency | 40.5284 | 23.0177
ZAF00284 |  | 90205 | South Africa | River station | APIES RIVER - AT RONDAVEL | Water Quality Station A2H061Q01, Dept. of Water and Sanitation (DWS) 2020. WMS site ID 90205 |  | LIMPOPO |  | 1105 | TREND | 1984-07-04 | Department of Water and Sanitation | -25.4596 | 28.2643
MEX03920 |  | OCRBR5022M1 | Mexico | Groundwater station | METRORREY PONIENTE WELL (SADM) |  |  | RIO GRANDE (GULF OF MEXICO) |  | 540 | TREND | NaT | Comisión Nacional del Agua | 25.6676 | -100.3091
CHN00014 | 325002 |  | China | Reservoir station | High Island Reservoir | High Island Reservoir west of main dam. Water Supplies Dept. - July 2003 |  |  |  | 49 | BASELINE | 1978-07-01 | Water Supplies Department | 22.3847 | 114.3353 |  |  | 67 | 6.9 | 0.281 | 2.9
PAN00085 | 320082 |  | Panama | Lake station | Lago Gatun - Toma de Agua Mendoza | Lago Gatun - TME - ACP 2010 Report |  |  |  |  | TREND | 2010-01-20 | Unidad de Calidad de Agua - Autoridad del Canal de Panamá | 9.0444 | -79.8367
GTM00083 | 044083 |  | Guatemala | River station | Ostúa River - Casa de Tablas station | Ostúa-Güija & Olopa river basins |  | LEMPA |  |  | TREND | 2016-03-22 | Ministerio de Comunicaciones Infraestructura Y Vivienda - Instituto Nacional de Sismología, Volcánología, Meteorología e Hidrolo | 14.5269 | -89.9228
TUR00006 | 024006 |  | Turkey | Lake station | Lake Eymir | Situated approximately 20 km south of Ankara. Outflow of Lake Mogan. Origin from alluvial damming of Imrahor River valley. Data submission from METU - November 2002. |  | SAKARYA |  | 968.4 | TREND | 1997-03-26 | Middle East Technical University - Department of Biology | 39.8258 | 32.8322 |  |  | 6 | 1.3 | 0.00388
KOR00002 | 150002 |  | Korea (the Republic of) | River station | Han River - Chuncheon (North) | Downstream near from Chuncheon Dam. No point poolution source. |  | HAN | 4.74 | 103 | BASELINE | 2005-09-21 | National Institute of Environmental Research - Environmental Diagnostics Research Department | 37.9678 | 127.6697 | 216 | 65
HUN00045 |  | HU10FF74 | Hungary | Lake station | MIDDLE OF POROSZLÓ BASIN |  |  | DANUBE | 14069 |  | TREND | NaT |  | 47.6153 | 20.6741 |  |  |  | 120.83
JOR00003 | 069003 |  | Jordan | Reservoir station | King Talal Dam | Reservoir - 38.0 km north-west Amman (the Capital) |  | JORDAN |  | 174 | TREND | 1988-01-14 | Ministry of Water and Irrigation - Water Authority of Jordan | 32.19 | 35.8072 |  |  | 102 | 2.8 | 78 | 1
CZE00032 |  | CZPOD_1163 | Czechia | River station | BOHUMÍN |  |  | ODER/ODRA |  |  | TREND | 1963-01-01 |  | 49.9203 | 18.327
GTM00049 | 044049 |  | Guatemala | River station | Aguacapa River- Agua Calinete (Hid. Aguacapa) | Maria Linda river basin |  |  |  |  | TREND | 2000-05-15 | Ministerio de Comunicaciones Infraestructura Y Vivienda - Instituto Nacional de Sismología, Volcánología, Meteorología e Hidrolo | 14.2911 | -90.5058
ITA00118 |  | IT01034030 | Italy | River station | PONTE SS 460 |  |  | PO |  |  | TREND | 2010-01-01 |  | 45.4154 | 7.5582
HUN00047 |  | HU10FF77 | Hungary | Lake station | ABÁDSZALÓK BASIN, BEACH |  |  | DANUBE | 12467.9 |  | TREND | NaT |  | 47.4847 | 20.5878 |  |  |  | 120.83
AUT00037 |  | ATFW61300317 | Austria | River station | ANGER |  |  | DANUBE |  |  | TREND | NaT |  | 47.2869 | 15.6875
RUS00009 | 026009 |  | Russian Federation (the) | River station | Amur River | At Bogorodskoye Village, 4 km below confluence with Krivaya-Kenzha River. Coincide with flow measurement station. |  | AMUR | 1790000 | 1.6 | FLUX | 1964-01-01 | State Hydrochemical Institute | 52.3672 | 140.4278 | 1530 | 10200
ARG00074 |  | RHN02264 | Argentina | River station | Camino Buen Pasto |  |  | CHUBUT |  | 269 | TREND | NaT | Ministerio de Obras Públicas - Subsecretario de Planificación y Gestión Operativa de Proyectos Hídricos | -45.5644 | -69.0672
FRA00021 | 303014 |  | France | River station | Maroni River - Langa Tabiki | ORE-HYBAM station 30030000, French Guiana - Altitude=25, Specific Discharge=28 l/s/km2 |  | MARONI | 60930 | 25 | TREND | 2004-03-04 | Institute for Research Development - Project Hydro-Geodynamics of the Amazon Basin | 4.9861 | -54.4367 |  | 1680
ITA00122 |  | IT01038001 | Italy | River station | FENILS |  |  | PO |  |  | TREND | 2010-01-01 |  | 44.9817 | 6.8057
CAN00207 |  | NB01BR0008 | Canada | River station | Black River at Highway 117 Covered Bridge, Claire |  |  |  |  | 7 | TREND | NaT | Environment and Climate Change Canada | 46.8381 | -64.9917
TZA00032 |  | TP-12 | Tanzania, United Republic of | Lake station | In Lake Victoria Tanzania Pelagic station 12 |  |  | NILE |  | 1135 | TREND | NaT |  | -1.2822 | 32.7234 |  |  | 85 | 68870 | 2760 | 23
BDI00003 |  | 11039 | Burundi | River station | Ndurumu - Shombo |  |  | NILE |  | 1512 | IMPACT | NaT |  | -3.2097 | 30.0458
CAN00092 |  | NF03PB0032 | Canada | River station | Ashkui on Susan River North of Beaver River W-20Su |  |  |  |  | 23 | TREND | 1999-07-06 | Environment and Climate Change Canada | 53.7381 | -60.9467
CAN00129 |  | NF03PB0028 | Canada | River station | Cape Caribou River Iskui |  |  |  |  | 5 | TREND | 1999-04-27 | Environment and Climate Change Canada | 53.6211 | -60.4144
LTU00013 |  | LTR13 | Lithuania | River station | NEMUNAS UPSTEAM RUSNE UPSTEAM LEITE |  |  | NEMAN |  | 0 | TREND | NaT | European Environment Agency | 55.2726 | 21.4106
SWE00073 |  | SE758793-162214 | Sweden | River station | ABISKOJOKK RÖDA BRON |  |  | TORNE/TORNEALVEN |  |  | IMPACT | 2000-12-22 |  | 68.3563 | 18.7718
AFG00010 | 304010 |  | Afghanistan | Groundwater station | Kabul - Well No. 3 | Water and Sanitation Program (WSP) - DACAAR 2005 (USGS, USAID, BGF funded). Manual method to measure water level. Well Depth = 20.0 |  | INDUS |  |  | TREND | 2005-04-13 | DACAAR - Water and Sanitation Program | 34.6065 | 69.7476
MEX03411 |  | OCNOR4224M1 | Mexico | Groundwater station | QUITOVAC WELL |  |  |  |  | 422 | TREND | NaT | Comisión Nacional del Agua | 31.5158 | -112.7506
IRL00172 |  | IEMRRS34M021100 | Ireland | River station | ARDNAREE BRIDGE | [5 empty] | TREND | 2007-01-01 |  | 54.1124 | -9.1527
BRA00020 | 002020 | 14990000 | Brazil | River station | Negro River - in Manaus | ANA Stn. 14990000 |  | AMAZON | 716603 | 7 | TREND | 1993-03-15 |  | -3.1367 | -60.0269 | 2583 | 36136
USA00028 | 028028 |  | United States of America (the) | River station | Charles River - MA | Charles River above Watertown Dam at Watertown, Maine. USGS STN. 01104615, altitude 8ft, May 2004. |  |  | 702 |  | TREND | 1998-10-22 | United States Geological Survery - Office of Water Quality | 42.3647 | -71.1903 |  | 1.3
HUN00040 |  | HU09FF07 | Hungary | River station | BERETTYÓÚJFALU |  |  | DANUBE |  |  | TREND | NaT |  | 47.2084 | 21.5412
EST00003 |  | EESJA2302000 | Estonia | River station | EMAJÕGI: RANNU-JÕESUU |  |  | NARVA |  |  | TREND | 1992-01-01 |  | 58.3849 | 26.1341
DZA00043 | 109043 |  | Algeria | Reservoir station | Beni Amrane Dam - Isser River | Dam height 3.75m, water supply for Algers - Agence Nationale des Ressources Hydrauliques |  |  |  |  | TREND | 2008-05-15 | Agence Nationale des Ressources Hydrauliques | 36.6703 | 3.6086 |  |  |  | 4000
GRC01288 |  | EL08200892 | Greece | Groundwater station | D G369 |  |  |  |  | 454 | TREND | NaT | European Environment Agency | 39.043 | 22.2454
FRA00074 |  | FRFR05181600 | France | River station | MOLETTE |  |  | GARONNE |  |  | IMPACT | 2010-03-22 |  | 42.917 | 0.80492
KHM00011 | 064011 | H033401 | Cambodia | River station | Bassac River - Takhmao | Mekong Secretariat Station H033401 (1995-) |  | MEKONG |  |  | TREND | 2000-01-26 | Mekong River Commission - Mekong Secretariat | 11.4786 | 104.9531
LKA00026 | 076026 |  | Sri Lanka | River station | Bentota Estuary - Sampling Point 5 | In front of weekly fair |  |  |  |  | TREND | 2010-08-02 | Ministry of Environment & Natural Resources - Central Environment Authority | 6.4383 | 80.0014
ESP00083 |  | ES100ESPF200003000 | Spain | River station | CAPCALERA DEL FRESER FINS A CAMPDEVANOL INCLOSOS E |  |  |  |  | 812 | TREND | NaT | European Environment Agency | 42.2515 | 2.1637
SRB00030 |  | RSRW00036 | Serbia | River station | NISAVA DIMITROVGRAD |  |  | DANUBE |  | 465 | TREND | NaT | European Environment Agency | 43.0071 | 22.8115
DEU00254 |  | 1131602700006 | Germany | Groundwater station | BRUENNSTADT 75A - at Frankenwinheim |  |  | RHINE-MEUSE |  | 226 | TREND | NaT | German Environment Agency | 49.901 | 10.2989
CHE00024 |  | CHRW-1158 | Switzerland | River station | BÖNIGEN MITTE |  |  | RHINE-MEUSE |  |  | TREND | 1980-01-01 |  | 46.6903 | 7.8963
GRC00599 |  | EL02040277 | Greece | Groundwater station | HF51 |  |  |  |  | 374 | TREND | NaT | European Environment Agency | 37.7976 | 21.6191
MEX04938 |  | OCPBC5589 | Mexico | Groundwater station | C DE AGUAS NEIGHBORS OF FRACC PLAYA LA MISION AND |  |  |  |  | 5 | TREND | NaT | Comisión Nacional del Agua | 32.0983 | -116.8644
ITA00357 |  | IT01062045 | Italy | River station | C NA SAN MICHELE |  |  | PO |  | 129 | TREND | NaT | European Environment Agency | 45.1397 | 8.346
DZA00045 | 109045 |  | Algeria | Lake station | Arbatached River - Hamiz Dam | Irrigation for an area of 18000 hectares. Oldest dam in Algeria. |  |  |  |  | TREND | 2009-05-15 | Agence Nationale des Ressources Hydrauliques | 36.6042 | 3.3519
GBR00059 |  | UKHK086 | United Kingdom of Great Britain and Northern Ireland (the) | Lake station | ALTON WATER DRAW OFF TOWER | [5 empty] | TREND | NaT |  | 51.9787 | 1.1435
RWA00007 |  | Gak2 | Rwanda | River station | Gakenke2 |  |  | NILE |  | 1480 | IMPACT | NaT |  | -1.7357 | 29.6957
ESP00041 |  | ES100ESPF080001000 | Spain | River station | CAPCALERA DEL FOIX FINS A SANT MARTI SARROCA |  |  |  |  | 291 | TREND | NaT | European Environment Agency | 41.3937 | 1.6149
DEU00091 |  | 110240194 | Germany | Groundwater station | AH/19 -HEGERORT - at Rosendahl |  |  | VECHT |  | 71 | TREND | NaT | German Environment Agency | 52.0069 | 7.0712
RWA00004 |  | Buge4 | Rwanda | Lake station | Bugesera4 |  |  | NILE |  | 1325 | IMPACT | NaT |  | -2.3434 | 30.3018
ZAF00139 |  | 102975 | South Africa | River station | Crocodile River at Weltevrede | Crocodile River upstream of the confluence with the Kaap River. - Water Quality Station X2H032Q01, Dept. of Water and Sanitation (DWS) 2020. WMS site ID 102975 |  | INCOMATI |  | 478 | TREND | 1972-03-26 | Department of Water and Sanitation | -25.5139 | 31.2244
MEX04255 |  | DLAGU5575 | Mexico | Groundwater station | CAÑADA HONDA WELL |  |  | SANTIAGO-LERMA-CHAPALA |  | 1922 | TREND | NaT | Comisión Nacional del Agua | 21.9996 | -102.2008
BRA01596 |  | ACA04 | Brazil | Reservoir station | ACA04 | No Detailed Information Available |  | JAGUARIBE |  | 0 | TREND | NaT |  | -5.1461 | -38.1584
URY00006 |  | 08AB | Uruguay | River station | Aguas Blancas | Aguas Blancas |  | LA PLATA |  | 87 | TREND | NaT | Ministerio de Ambiente Uruguay | -34.5071 | -55.3727
HUN00049 |  | HU12FF11 | Hungary | River station | BÉKÉS, MOUTH SLUICE |  |  | DANUBE |  |  | TREND | NaT |  | 46.8007 | 21.1352
NZL00071 | 017071 | AX4 | New Zealand | River station | Clutha at Millers Flat | Associated Hydrometric Site: 75240 Region-Alexander, midway between AX1 and DN4, downstream 3 towns and major hydro electric development., Catchment height (m) = 902 |  | CLUTHA | 16548 | 91 | IMPACT | 1989-02-02 | National Institute of Water and Atmospheric Research | -45.6647 | 169.4101 |  | 501.8
AUT00127 |  | ATPG40905012 | Austria | Groundwater station | PG40905012 |  |  | DANUBE |  |  | TREND | 1992-07-01 |  | 47.904 | 14.112 | [6 empty] | 810.76
DZA00005 | 109005 |  | Algeria | Reservoir station | Ouizert Dam - Sahouat River | Dam Height 60m, irrigation/water supply - Agence Nationale des Ressources Hydrauliques |  |  |  |  | TREND | 1986-01-01 | Agence Nationale des Ressources Hydrauliques | 35.2889 | 0.02777 |  |  |  | 7000 | 100000
DNK00007 |  | DK114-1736-05 | Denmark | Groundwater station | DK114-1736-05 | [5 empty] | TREND | NaT |  | 55.7726 | 8.9607
DEU00183 |  | 1131674000021 | Germany | Groundwater station | BIRKENBERG 730 - at Neukirchen-Balbini, M |  |  | DANUBE |  | 424 | TREND | NaT | German Environment Agency | 49.2886 | 12.3745
JPN00017 | 080017 |  | Japan | River station | Ishikari River - at Ishikari | 1.2 km northwest of Ebetsu |  | ISHIKARI | 12697 | 0.6 | FLUX | 1970-09-01 | National Institute for Environmental Studies - Center for Global Environment Research | 43.1211 | 141.5464 | 360 | 388
DEU00910 |  | 9842941 | Germany | Groundwater station | Pockens - at Pockens |  |  | EMS |  | -2 | TREND | NaT | German Environment Agency | 53.6291 | 7.7533
ROU00007 |  | RO140100 | Romania | Reservoir station | BAZIAS |  |  | DANUBE |  | 77 | TREND | NaT | European Environment Agency | 44.7992 | 21.3944
AUT00275 |  | ATSE70201000 | Austria | Reservoir station | ATSE70201000 |  |  | DANUBE |  | 992 | TREND | NaT | European Environment Agency | 47.4825 | 10.8396
PRT00014 |  | PT06K04 | Portugal | River station | ALB SORDO |  |  | DOURO/DUERO |  | 608 | TREND | NaT | European Environment Agency | 41.2713 | -7.8019
JPN00014 | 080014 |  | Japan | River station | Ohta River - at Hesaka | 9.2 km upstream from mouth, 2.4 km downstream from gauging station |  |  | 1523 | 5.6 | IMPACT | 1958-06-08 | National Institute for Environmental Studies - Center for Global Environment Research | 34.4369 | 132.4906 | 120 | 43
BGR00003 |  | BG4ST00649MS760 | Bulgaria | River station | P STRUMESHNITSA AT THE BORDER BRIDGE WITH GABRENE |  |  | STRUMA |  | 189 | TREND | NaT | European Environment Agency | 41.3941 | 22.9718
USA00065 | 028065 |  | United States of America (the) | River station | Lehigh River - PA | Lehigh River at Glendon, Pennsylvania. USGS STN. 01454700, altitude 164.30ft, May 2004. |  | DELAWARE | 3520 |  | TREND | 1998-07-14 | United States Geological Survery - Office of Water Quality | 40.6692 | -75.2367 |  | 26.7
NLD00114 |  | NL36_OWM_016M | Netherlands (the) | Lake station | OWM_016M |  |  | VECHT |  |  | TREND | 2009-01-01 |  | 52.5744 | 6.6084 |  |  |  | 0.01
FIN00029 |  | FI53150 | Finland | River station | ETELÄJOKI TIE 272 MTS | [5 empty] | TREND | NaT |  | 61.6576 | 21.6632
DZA00013 | 109013 |  | Algeria | Reservoir station | Colonel Boughara Dam - Nahr Ouassel River | Dam Height 17.5m, irrigation - Agence Nationale des Ressources Hydrauliques |  | CHELIF |  |  | TREND | 1988-05-05 | Agence Nationale des Ressources Hydrauliques | 35.5194 | 1.6806 |  |  |  | 5100 | 13000
PRT00009 | 073009 |  | Portugal | River station | Mondego River - Ponte Penacova | European Environment Agency Station CO7, refer to EEA data submission - June 1999 |  |  |  |  | TREND | 1990-01-16 | European Environment Agency | 40.1483 | -8.68
THA00007 | 054008 |  | Thailand | River station | Bang Pa Kong River | Downstream Chachoensao, temporary location - subject to revision |  |  |  |  | TREND | 1990-10-18 | Department of Health - Bureau of Environmental Health | 13.7 | 101.0833
BRA01894 |  | PAC06 | Brazil | Reservoir station | Açude Pacajus - PAC06 | No Detailed Information Available |  |  |  | 0 | TREND | NaT |  | -4.2842 | -38.4639
FIN00009 | 065010 |  | Finland | River station | Oulujoki River - at Merikoski 13000 | European Environment Agency Station F05 refer to EEA data submission - June 1999 |  | OULU |  |  | TREND | 1993-01-15 | European Environment Agency | 65.0236 | 25.4694
ECU00004 | 303003 |  | Ecuador | River station | Napo River - Francisco de Orellana | ORE-HYBAM station 10080900, near confluence of Amazonas (Solimoes) and Napo River, Ecuador - Altitude=260m, Specific Discharge=99 l/s/km2 |  | AMAZON | 12440 | 260 | TREND | 2003-05-19 | Institute for Research Development - Project Hydro-Geodynamics of the Amazon Basin | -0.44111 | -76.9892 |  | 1230
LTU00026 |  | LTR245 | Lithuania | River station | DOTNUVELE DOWNSTREAM DOTNUVA |  |  | NEMAN |  | 52 | TREND | NaT | European Environment Agency | 55.351 | 23.906
LTU00024 |  | LTR192 | Lithuania | River station | ARMONA AT LAIBISKIAI |  |  | NEMAN |  | 61 | TREND | NaT | European Environment Agency | 55.1921 | 24.689
BOL00003 | 303009 |  | Bolivia (Plurinational State of) | River station | Beni River - Rurrenabaque | ORE-HYBAM station 15275100, Bolivia - Altitude=210m, Specific Discharge=29 l/s/km2 |  | AMAZON | 68900 | 210 | TREND | 2003-03-26 | Institute for Research Development - Project Hydro-Geodynamics of the Amazon Basin | -14.4453 | -67.5342 |  | 2010
DZA00017 | 109017 |  | Algeria | Reservoir station | Boukourdane | Agence Nationale des Ressources Hydrauliques |  |  |  |  | TREND | 1978-01-01 | Agence Nationale des Ressources Hydrauliques | 36.675 | 4.1167
CZE00021 |  | CZPLA_8 | Czechia | River station | CESTICE |  |  | ELBE |  |  | TREND | 1967-01-02 |  | 50.1221 | 16.1465
MKD00014 |  | MK63306 | Macedonia (the former Yugoslav Republic of) | River station | DOLNI BALVAN |  |  | VARDAR |  |  | TREND | NaT |  | 41.8 | 22.21
MLI00004 | 099004 |  | Mali | River station | Niger River - at Bamako (Kibarou) | Niger River in the village of Kibarou at 200 m |  | NIGER |  |  | TREND | 1992-01-01 | Ministère de l¿Environnement, de l'Eau et de l¿Assainissement - Direction Nationale de l'Hydraulique du Mali | 12.6269 | -7.9997
IDN00002 | 060002 |  | Indonesia | River station | Banjir Kanal River | At intake to Pejompongan water treatment plant at Penjernihan Street |  |  |  |  | IMPACT | 1985-06-01 | Ministry of Public Works - Research Institute for Water Resources Development | -6.085 | 106.875 | 30 | 23
THA00025 | 054026 | H381699 | Thailand | River station | Lam Dom Noi River - Lam Dom Noi Dam Site | Mekong Secretariat Station H381699 (1985-), data received 1994 from Project Officer, Mekong Secretariat |  | MEKONG | 2097 |  | TREND | 1985-05-15 | Mekong River Commission - Mekong Secretariat | 15.2028 | 105.4322
DEU00885 |  | 5620 | Germany | Groundwater station | OSTROHE 5620 - at Ostrohe |  |  |  |  | 3 | TREND | NaT | German Environment Agency | 54.2134 | 9.1275
HUN00037 |  | HU08FF20 | Hungary | River station | DIÓSGYOR (MISKOLC) |  |  | DANUBE |  |  | TREND | NaT |  | 48.1011 | 20.7841
IND00099 |  | CPCB_10036 | India | River station | RIVER ADYAR AT MARAIMALAI BRIDGE |  |  |  |  | 2 | TREND | 2020-09-04 | Ministry of Environment & Forests - Central Pollution Control Board | 13.0272 | 80.2081
PAK00002 | 056002 |  | Pakistan | Lake station | Lake Kalri | In outlet canal fro Karachi water treatment plant |  | INDUS |  | 16.2 | IMPACT | 1980-06-01 | University of Engineering and Technology - Institute of Environmental Engineering and Research | 24.8344 | 67.7736 |  |  | 16.6 | 132.6 | 12000
CHE00011 |  | CHRW-1011 | Switzerland | River station | ABFLUSS GREIFENSEE |  |  | RHINE-MEUSE |  |  | TREND | 1980-01-01 |  | 47.3789 | 8.6466
ITA00233 |  | IT0819000600 | Italy | River station | A MONTE CASCATA VIA TONALE | [5 empty] | IMPACT | 2010-01-01 |  | 44.0648 | 12.5513
IND02315 |  | 019-CDJAPR | India | Lake station | A.B.Road X-ing |  |  | GANGES-BRAHMAPUTRA-MEGHNA |  | 32 | TREND | 2021-08-05 | Government of India - Central Water Commission | 24.3458 | 77.1125
POL00182 |  | PL01S0601_2024 | Poland | River station | BACHA STRUGA TORUNSKA - PONIZEJ ZLEWNI EKSPERYMENT |  |  | VISTULA/WISTA |  | 77 | TREND | NaT | European Environment Agency | 53.0864 | 18.6932
ZAF00119 |  | 188062 | South Africa | River station | Leeuwdrift at Weir on Crocodile River | Lowest site on the Crocodile River before the confluence with the Marico River. - Water Quality Station A2H128Q01, Dept. of Water and Sanitation (DWS) 2020. WMS site ID 188062 |  | LIMPOPO |  | 884 | TREND | 2004-05-19 | Department of Water and Sanitation | -24.3962 | 27.0898
MEX03429 |  | OCPBC4240 | Mexico | Reservoir station | ABELARDO L. RODRIGUEZ 1 Dam |  |  | TIJUANA |  | 94 | TREND | NaT | Comisión Nacional del Agua | 32.4386 | -116.9057
CRI00122 |  | FPN-ABA-04 | Costa Rica | River station | Abangares river east of Limonal, Guanacaste | At Limonal, Las Juntas |  | ABANGARES |  | 101 | BASELINE | 2017-08-22 |  | 10.2694 | -85.0024
IND00661 |  | CPCB_1912 | India | River station | CHANDRABHAGA D/S OF PANDHARPUR TOWN GURSALE PANDHA |  |  | KRISHNA |  | 2 | TREND | 2020-09-04 | Ministry of Environment & Forests - Central Pollution Control Board | 17.6777 | 75.339
MEX01002 |  | DLGUE1229 | Mexico | River station | RIO PAPAGAYO 8 |  |  | BALSAS |  | 19 | TREND | NaT | Comisión Nacional del Agua | 16.8356 | -99.6278
MKD00006 |  | MK63070 | Macedonia (the former Yugoslav Republic of) | River station | NAGOEVCI |  |  | VARDAR |  |  | TREND | NaT |  | 41.62 | 21.91
MKD00007 |  | MK63080 | Macedonia (the former Yugoslav Republic of) | River station | DEMIR KAPIJA |  |  | VARDAR |  |  | TREND | NaT |  | 41.4 | 22.27
SWE00066 |  | SE683661-156793 | Sweden | River station | DELÅNGERSÅN IGGESUND | [5 empty] | IMPACT | 2000-12-22 |  | 61.6379 | 17.0863
COL00086 |  | 23037010 | Colombia | River station | Puerto Salgar Station | In Puerto Salgar - Cundinamarca |  | MAGDALENA | 56905 | 172 | TREND | NaT | Instituto de Hidrología, Meteorología y Estudios Ambientales | 5.4692 | -74.6619 | 281.2 | 1676.9

## Parameter_Metadata
Parameter Code | Parameter Name | Parameter Long Name | Parameter Group | EC Number | CAS Number | ChEBI Number | Parameter Description
Al-Tot | Aluminum | Aluminum - Total | /Chemical/Inorganic/Metal | 231-072-3 | 7429-90-5 | 28984 | Aluminum fraction in an unfiltered sample after vigorous digestion.
Ca-Tot | Calcium | Calcium - Total | /Chemical/Inorganic/Metal | 231-179-5 | 7440-70-2 | 22984 | Calcium fraction in an unfiltered sample after vigorous digestion.
DOC | Dissolved Organic Carbon | Dissolved Organic Carbon | /Chemical/Nutrient/Carbon | 231-153-3 | 7440-44-0 | 27594 | Organic carbon fraction that passes through a 0.45 µm filter.
DON | Dissolved Organic Nitrogen | Dissolved Organic Nitrogen | /Chemical/Nutrient/Nitrogen | 231-783-9 | 7727-37-9 | 25555 | Organic nitrogen fraction in filtered samples, reported as nitrogen.
H-T | Hardness | Hardness - Total | /Chemical/Inorganic/Bulk Property |  |  |  | Sum of calcium hardness and magnesium hardness, expressed as calcium carbonate in milligrams per liter.
K-Tot | Potassium | Potassium - Total | /Chemical/Inorganic/Metal | 231-119-8 | 9/7/7440 | 26216 | Potassium fraction in an unfiltered sample after vigorous digestion.
Mg-Tot | Magnesium | Magnesium - Total | /Chemical/Inorganic/Metal | 231-104-6 | 7439-95-4 | 25107 | Magnesium fraction in an unfiltered sample after vigorous digestion.
O2-Dis | Dissolved Oxygen | Dissolved Oxygen | /Chemical/Inorganic/Dissolved Gas | 231-956-9 | 7782-44-7 | 15379 | Concentration of molecular oxygen dissolved in water.
pH | pH | pH | /Chemical/Inorganic/Bulk Property |  |  |  | The negative logarithm of the hydrogen ion concentration, a measure of acidity or alkalinity of water soluble substances.
Sal | Salinity | Salinity | /Chemical/Inorganic/Bulk Property |  |  |  | Measure of the mass of dissolved salts in a given volume of solution.
TEMP | Water Temperature | Water Temperature | /Physical/Temperature |  |  |  | Ambient temperature of the water.
TEMP-Air | Air Temperature | Air Temperature | /Physical/Temperature |  |  |  | Ambient temperature of the air.
TRANS | Transparency | Transparency | /Physical/Optical |  |  |  | Measure of the depth of light penetration into the water.
TSS | Suspended Solids | Total Suspended Solids | /Physical/Water/Solids |  |  |  | Portion of solids retained by a filter.
TURB | Turbidity | Turbidity | /Physical/Optical |  |  |  | Cloudiness or haziness of a fluid caused by suspended solids that are usually invisible to the naked eye.
U-Tot | Uranium | Uranium - Total | /Chemical/Inorganic/Metal | 231-170-6 | 7440-61-1 | 27214 | Uranium fraction in an unfiltered sample after vigorous digestion.

## Methods_Metadata
Parameter Code | Analysis Method Code | Unit | Parameter Long Name | Method Name | Method Type | Method Number | Method Source | Method Description
Al-Tot | AAS-E-NA-AR | mg/l | Aluminum - Total | Electrothermal Atomic Absorption Spectrometric Method with HNO3 or HNO3+3HCl Digestion | Spectroscopy | SM 3113 B | APHA 2012 | A sample is preserved in the field with mineral acid. The sample aliquot is digested in nitric acid or aqua regia. The aliquot is then heated, usually in three stages in a graphite furnace or an electrically heated atomiser where: first, a low current is applied to dry the sample; the second stage chars the sample by destroying the organic matter and volatilises other matrix compounds; finally, the third stage applies a high current which heats the tube to incandescence and atomises the aluminum to be determined. The absorbance of the resultant ground state atoms is measured at 309.3 nm and is compared to identically-prepared Al standard and blank solutions.
Al-Tot | Al-COL-Merck | mg/l | Aluminum - Total | Spectroquant Aluminium Test | Colorimetry | 1.148.250.001 | Merck 2001 | Colorimetric analysis of the coloured solution resulting from coloured lacquer and aluminum cromoazurol S buffer with acetates.
Al-Tot | Al-COL-PHOT | mg/l | Aluminum - Total | Palintest Photometer Method - Aluminium | Colorimetry | PHOT.3.A | PALINTEST 2014 | Aluminum reacts with Eriochrome Cyanine R indicator in slightly acid solution to produce a pink-red coloured complex. Fill test tube with sample to the 10 ml mark. Add one Aluminum No.1 tablet, crush and mix to dissolve. Add one Aluminum No.2 tablet, crush and mix gently to dissolve. Avoid vigorous agitation. Stand for five minutes to allow full colour development. Take photometer reading in usual manner.
Al-Tot | COL-F | mg/l | Aluminum - Total | Colorimetry using Ferron as Indicator | Colorimetry | ENV 488 | Environment Canada 1995 | A sample is preserved in the field with diluted mineral acid. A hydroxylamine hydrochloride (NH2OH.HCl) solution, containing BeSO4 (to minimize the interference of fluoride), is added to two aliquots: one is the test aliquot and the other is the colour correction aliquot. A solution, containing ferron and orthophenanthroline (9, 10-phenanthroline) (to minimize the interference of iron), is added to one of the sample aliquots. Sodium acetate solution is added to both sample aliquots. The absorbance of the aliquot, containing ferron and orthophenanthroline, is measured spectrometrically at 520 nm, and compared to identically-prepared Al standard and blank solutions. A colour correction is made, using the aliquot without ferron and orthophenanthroline.The Al concentration measured is corrected for Fe, Mn and F ions, by the following equation:mg/L Al = A - B - C + D where, A = apparent mg/L Al ;B = (0.12 x mg/L Fe); C = 0.04 x mg/L Mn) ;D = (0.05 x mg/L F)
Al-Tot | FAAS-NAc-D-NA | mg/l | Aluminum - Total | Direct Nitrous Oxide-Acetylene Flame Atomic Absorption Spectrometry with HNO3 digestion | Spectroscopy | SM 3111 D | APHA 2012 | A sample is preserved in the field with nitric acid. The sample aliquot is digested with nitric acid and aspirated in a N2O-C2H2 reducing flame. The absorbance is measured spectrometrically at 309.3 nm. The sample is compared to identically-prepared Al standard and blank solutions.
Al-Tot | FAAS-NAc-E-NA | mg/l | Aluminum - Total | Extraction/Nitrous Oxide-Aceteylene Flame Atomic Absorption Spectrometry with HNO3 digestion | Spectroscopy | SM 3111 E | APHA 2012 | A sample is preserved in the field with nitric acid. The sample aliquot is digested with nitric acid. The aliquot is buffered to a pH between 7.5 and 8.5 and oxine reagent is added. The solution is extracted on a mechanical shaker and the solvent layer is aspirated and the absorbance is measured spectrometrically at 309.3 nm and compared to identically-prepared standard and blank solutions, using a N2O-C2H2 reducing flame.
Al-Tot | ICP-AES-Dgs | mg/l | Aluminum - Total | Inductively Coupled Plasma (ICP) Method (Total Metals after Rigorous Digestion) | Spectroscopy | SM 3120 B | APHA 2012 | A sample is preserved in the field with diluted mineral acid. The sample aliquot is digested with aqua regia and evaporated near dryness. The residue is dissolved in concentration HCl and diluted appropriately. The digested sample aliquot is aspirated and the emission is measured spectrometrically at 309.3 nm (See Appendix 4) and compared to identically-prepared Al standard and blank solutions.
Al-Tot | ICP-AES-Xtr | mg/l | Aluminum - Total | Inductively Coupled Plasma (ICP) Method (Extractable/Recoverable Metals) | Spectroscopy | SM 3120 B, 3030 C | APHA 2012 | A sample is preserved in the field with nitric acid. The sample aliquot is digested with concentrated nitric acid or aqua regia, concentrated appropriately, and aspirated from an autosampler. The emission is measured at 309.3 nm (See Appendix 4) and compared to identically-prepared standard and blank solutions.
Al-Tot | ICP-MS-CVD | mg/l | Aluminum - Total | Inductively-Coupled Plasma Mass Spectrometry with Closed Vessel Digestion | Spectroscopy | SM 3125 B | APHA 2012 | Water samples are preserved at 2% nitric acid and digested overnight at 60°C in a closed vessel. The resulting solution is analyzed by ICP-MS.
Al-Tot | ICP-MS-Dgs | mg/l | Aluminum - Total | Inductively-Coupled Plasma Mass Spectrometry with Mineral Acid Digestion | Spectroscopy | SM 3125 B | APHA 2012 | A sample is preserved in the field with diluted mineral acid. The sample aliquot is digested in mineral acids and introduced in an argon stream high temperature and radio frequency plasma through a pneumatic pump. The energy from the plasma is transferred to the sample and causes desolvation, atomisation and ionisation. The ions generated are extracted from the plasma, through a vacuum interface, and separated on the basis of their mass to charge ratio in the mass spectrometer, the ions are counted by an electron multiplier detector, the data are processed by a computer data handling system and compared to identically-prepared standard and blank solutions. Interference: Isobaric elemental interferences are calculated automatically by the data system; the abundance sensitivity should be corrected through adjustment of the spectrometer resolution; physical interferences are usually corrected by ensuring the water sample does not contain more than 0.5% dissolved solids; ionisation interferences are corrected by the addition of internal standards and sufficient wash time should minimise memory interferences.
Al-Tot | ICP-SFMS-CVD | mg/l | Aluminum - Total | Inductively-Coupled Plasma Sector Field Mass Spectrometry with Closed Vessel Digestion | Spectroscopy | SM 3125 B | APHA 2012 | Closed Vessel Digestion - The whole water sample is collected, preserved with 2% H2NO3, and stored in a HDPE or Teflon bottle. The sample is digested "in-bottle" in a convection oven at 60°C for 16 hours. The sample is cooled and introduced to an inductively coupled argon plasma-sector field mass spectrometer (ICP-SFMS) by pneumatic nebulization. Each respective element is measured at a specific mass to charge ratio, m/z value expressed in amu (atomic mass units), and at a specified instrument resolution. LR: Low Resolution ~ 300, MR: Mid Resolution ~ 4000 and HR : High Resolution ~ 10000
Ca-Tot | Ca-CALC-HT-Mg | mg/l | Calcium - Total | Difference Calculation from Total Hardness and Magnesium | Calculation |  |  | Ca = {hardness - Mg *(M.CaCO3 / M.Mg)} / (M.CaCO3 / M.Ca)
Ca-Tot | FAAS-AAc-D | mg/l | Calcium - Total | Direct Air-Acetylene Flame Atomic Absorption Spectrometry (Magnesium) | Spectroscopy | SM 3111 B | APHA 2012 | A sample is preserved in the field at 4°C. A LaCl3 solution is added to the sample aliquot, mixed and aspirated. The absorbance is measured spectrometrically at 422.7 nm, and compared to identically-prepared standard and blank solutions.
Ca-Tot | ICP-AES-Dgs | mg/l | Calcium - Total | Inductively Coupled Plasma (ICP) Method (Total Metals after Rigorous Digestion) | Spectroscopy | SM 3120 B | APHA 2012 | Samples are preserved with 2 mL HNO3 per litre. Preconcentration by evaporation to near dryness with HNO3 or aqua regia (HNO3/HCl ratio v/v: 1to 3). Residue is taken up with HCl, and digested to near dryness, then brought to one-fifth or one-tenth original volume with deionized water. Digest is filtered through 0.4 um membrane
Ca-Tot | ICP-AES-Xtr | mg/l | Calcium - Total | Inductively Coupled Plasma (ICP) Method (Extractable/Recoverable Metals) | Spectroscopy | SM 3120 B, 3030 C | APHA 2012 | The whole water sample is preserved with 2 mL HNO3 per litre. Following open-vessel digestion with HNO3/HCl, the digest emission is measured spectrophotometrically at 317.9 nm.
Ca-Tot | T-COL-EDTA-MRX | mg/l | Calcium - Total | Colorimetric Titration with EDTA using Murexide as Indicator | Colorimetry | SM 3500-Ca B | APHA 1998 | (i) Use 50 ml of sample, or a smaller portion diluted to 50 ml. (ii) Add 2.0 ml of Na0H solution.(iii) Stir and add 0.1 - 0.2 g of the murexide indicator. Titrate immediately after the addition of the indicator. (iv) Add EDTA titrant slowly, with continuous stirring until the colour changes from Salmon to orchid purple. Check the end point by adding 1 or 2 drops of titrant in excess to make sure that no further colour change takes place.(v) Ensure that, not more than 15 ml EDTA is required in the titration.CALCULATIONSCa (mg/l) = (Ax Bx 400.8) / (ml sample)Where A= ml of EDTA titrant usedB = (ml of standard calcium solution) / ( ml of EDTA titrant)
DOC | DOC-COL-UV | mg/l | Dissolved Organic Carbon | Colourimetry with UV oxidation (DOC) | Colorimetry |  | Gravelet-Blondin et al, 1980 | The sample stream is segmented with CO2-free air, acidified, heated and sparged with nitrogen gas to remove the inorganic carbon. After re-sampling and air segmentation, persulphate and mercury(II) nitrate solutions are added and the mixed liquid stream is pumped through a quartz coil where it is exposed to a low intensity ultraviolet light, used as a source of energy. This process oxidizes the dissolved organic carbon to CO2 which by means of a gas permeable silicon membrane is dissolved in a weakly buffered thymol blue indicator solution. The colour change of the acid-base indicator is measured at 590 nm and is proportional to the concentration of dissolved organic carbon in a water sample.
DOC | HTC-NDI | mg/l | Dissolved Organic Carbon | High Temperature Combustion Method with Non-dispersive Infrared Analyzer | Spectroscopy | SM 5310 B | APHA 2012 | A sample is filtered in the field through a 0.45 µm membrane filter. A small volume is injected into a combustion tube at 950°C containing Cobalt oxide on asbestos. The resulting CO2 is measured by an IR analyzer and compared with organic carbon standard and blank solutions to give the total dissolved C (DC). An identical volume is injected into a combustion tube at 150°C containing 85% H3PO4 on quartz chips. The resulting CO2 (DIC) is measured by an IR analyzer and compared to identically-prepared inorganic carbon standard and blank. The dissolved organic C (DOC) is calculated by difference.~r~n~r~nDOC = DC - DIC
DOC | HTC-NDI-Auto | mg/l | Dissolved Organic Carbon | High-Temperature Combustion Method with Automated Non-dispersive Infrared Analyzer | Spectroscopy | SM 5310 B | APHA 2012 | Total dissolved carbon is analyzed by injecting a filtered whole water sample onto a platinum catalyst packed combustion tube kept at 680°C. The CO2 formed, which is proportional to the total dissolved carbon in the sample, is measured on a non-dispersive infrared detector. Dissolved inorganic carbon is then analyzed by injecting an identical filtered whole water sample into an inorganic reaction vessel containing 25% phosphoric acid. The CO2 formed represents the dissolved inorganic carbon in the sample and is determined by a non-dispersive infrared detector. Calculation of the dissolved organic carbon is obtained by subtracting the dissolved inorganic carbon from the total dissolved carbon.~r~n~r~nDOC = DC - DIC
DOC | NDI-BECK915 | mg/l | Dissolved Organic Carbon | Non-dispersive Infrared Spectroscopy (Beckman 915 TOC Analyzer) | Spectroscopy | STAR 226 | Environment Canada 2007 | A Beckman 915 Total Organic Carbon (TOC) analyzer.
DOC | NDI-BO | mg/l | Dissolved Organic Carbon | Infrared analysis - Burning Oxidation | Spectroscopy | JIS K 0102 22.1 | JSA 1998 | Inject a small amount of filtered sample into a high-temperature measuring tube for total carbon together with carbon dioxide-free air or oxygen. The organic carbon (organic matter) and inorganic carbon (mostly carbonate) in the sample convert to carbon dioxide which is measured in a non-dispersive infrared gas analyzer to find the Total Carbon (TC). Inject a separate sample into a measuring tube for inorganic carbon, which has been kept at a temperature that is low enough not to decompose the organic matter. Measure the carbon dioxide to find the Total Inorganic Carbon (TIC). Subtract TIC from TC to get Total Organic Carbon (TOC).
DON | DON-CALC-TKN-NH3 | mg/l | Dissolved Organic Nitrogen | Difference Calculation from Total Kjeldahl Nitrogen and Ammonia | Calculation | JIS K 0102 44 | JSA 1998 | DON = TKN - NH3
DON | DON-CALC-TON-NOx-NH3 | mg/l | Dissolved Organic Nitrogen | Difference Calculation from Total Organic Nitrogen, Nitrate, Nitrite and Ammonia | Calculation |  |  | DON = TON - (NO3 + NO2) - NH3
DON | DON-T-COL | mg/l | Dissolved Organic Nitrogen | Macro-Kjeldahl Method with Titration and Removal of NH3 | Titration | 4500-Norg B; NH3 C | APHA 2012 | A sample is collected in the field and preserved at 4°C. The shaken sample aliquot is neutralized, if necessary, to pH=7. A phosphate buffer solution (pH=7.4) is added. If Ca ion exceeds 250 mg/L, more buffer solution is added, and the solution is titrated to pH=7.4. Approximately one third of the sample is distilled to remove free NH3. The residual solution is digested with concentrated H2SO4, in the presence of HgSO4 (as a catalyst) and K2SO4 to give NH4HSO4. The solution is made alkaline and the NH3 is distilled and collected in a H3BO3 solution. The distillate is then titrated with 0.02N H2SO4, using an 'N Point' indicator and compared to identically-prepared standard and blank solutions.
H-T | H-T-CALC-Ca-Mg | mg/l | Hardness - Total | Hardness by Calculation | Calculation | SM 2340 B | APHA 2012 | Total Hardness as mg CaCO3/L = 2.497 * Ca [mg/L] + 4.117 * Mg [mg/L]
H-T | H-T-COL-PHOT | mg/l | Hardness - Total | Palintest Photometer Method - Total Hardness (HARDICOL) | Colorimetry | PHOT.15.AUTO | PALINTEST 2013 | Under the controlled conditions of the test, calcium and magnesium ions react with Hardicol indicator to produce a purple coloration. Filter sample if necessary to obtain a clear solution. Fill test tube with sample to the 10 ml mark. Add one Hardicol No.1 tablet, crush and mix to dissolve. Add one Hardicol No.2 tablet, crush and mix to dissolve. Ensure all particles are completely dissolved. Stand for two minutes to allow full colour development. Take photometer reading in usual manner.~r~n Testing range is 0 - 500 mg/l CaCO3
H-T | T-COL-EDTA-EBT | mg/l | Hardness - Total | Colorimetric Titration with EDTA using Eriochrome Black T as Indicator | Titration | SM 2340 C | APHA 2012 | If turbid, the sample aliquot is filtered through a 0.45 µm membrane filter. The titration method depends on the ability of the ethylenediamine tetraacetic acid (EDTA) and its sodium salts to form stable unionised complexes with calcium and magnesium ions. A buffer solution (NH4Cl, NH4OH, and Mg salt of EDTA) is added to a sample aliquot to adjust the pH between 10.1 - 10.2, followed by an indicator (Eriochrome Black T) (See Appendix 8) forming a pink complex. Upon titration, the EDTA removes the calcium and magnesium from the complex dye and changes the solution to its original blue colour as an end point.
H-T | T-COL-TriplexIII | mg/l | Hardness - Total | Total Hardness Test: titrimetric with titration pipette MColortest | Titration | 108047 | Merck 2013 | Calcium and magnesium ions react with an indicator to form a red complex compound. The indicator is released from this compound by titration with a solution of ethylenedinitrilotetraacetic acid disodium salt dihydrate (Titriplex III). At the titration end-point the color changes to green. The total hardness is determined from the consumption of titration solution.
K-Tot | FAAS-AAc-D | mg/l | Potassium - Total | Direct Air-Acetylene Flame Atomic Absorption Spectrometry (Magnesium) | Spectroscopy | SM 3111 B | APHA 2012 | A sample is preserved in the field at 4°C. The sample aliquot, mixed with an alkaline salt to overcome the ionisation effect, is aspirated through a burner head, measured spectrometrically at a wavelength of 766.5 nm and compared to identically-prepared standard and blank solutions, using an air-acetylene oxidizing flame.
K-Tot | FPD | mg/l | Potassium - Total | Flame Photometric Detection | Spectroscopy | SM 3500-K/Na B | APHA 2012 | A sample is preserved in the field at 4°C. The sample aliquot is mixed with a lithium nitrate solution, as an internal standard, and passed through the burner of a flame photometer equipped with interference filters isolating the spectral lines of potassium. The intensity of light produced is proportional to the amount of potassium present in the sample and is compared to identically-prepared standard and blank solutions, using propane and oxygen flame.
K-Tot | ICP-AES | mg/l | Potassium - Total | Inductively Coupled Plasma (ICP) Method | Spectroscopy | SM 3120 B | APHA 2012 | After preparing samples and obtaining the correct operating conditions. Calibrate the instrument and analyze the samples. Analysis is done by running a calibration blank and then the actual sample. Rinse for at least 60 seconds with dilute acid between samples and blanks. Analyze instrument check standard once per 10 samples.~r~nSuggested wavelength for K is 766.49nm.
K-Tot | ICP-AES-Dgs | mg/l | Potassium - Total | Inductively Coupled Plasma (ICP) Method (Total Metals after Rigorous Digestion) | Spectroscopy | SM 3120 B | APHA 2012 | Samples are preserved with 2 mL HNO3 per litre. Preconcentration by evaporation to near dryness with HNO3 or aqua regia (HNO3/HCl ratio v/v: 1to 3). Residue is taken up with HCl, and digested to near dryness, then brought to one-fifth or one-tenth original volume with deionized water. Digest is filtered through 0.4 um membrane before analysis. The emission is measured spectrophotometrically at 766.5 nm.
K-Tot | K-COL-PHOT | mg/l | Potassium - Total | Palintest Photometer Method - Potassium | Colorimetry | PHOT.30.AUTO | PALINTEST 2005 | The Palintest Potassium test is based on a single tablet reagent containing sodium tetraphenylboron. Potassium salts react with sodium tetraphenylboron to form an insoluble white complex. Fill test tube with sample to the 10 ml mark. Add one Potassium K tablet, crush and mix to dissolve. A cloudy solution indicates the presence of potassium. Take photometer reading in usual manner.
Mg-Tot | FAAS-AAc-D | mg/l | Magnesium - Total | Direct Air-Acetylene Flame Atomic Absorption Spectrometry (Magnesium) | Spectroscopy | SM 3111 B | APHA 2012 | A sample is collected and preserved in the field at 4°C. The shaken sample aliquot is mixed with a LaCl3 solution and aspirated in an air-acetylene reducing flame. The absorbance is measured spectrometrically at 285.2 nm and compared to identically-prepared standard and blank solutions.
Mg-Tot | ICP-AES | mg/l | Magnesium - Total | Inductively Coupled Plasma (ICP) Method | Spectroscopy | SM 3120 B | APHA 2012 | After preparing samples and obtaining the correct operating conditions. Calibrate the instrument and analyze the samples. Analysis is done by running a calibration blank and then the actual sample. Rise for at least 60 seconds with dilute acid between samples and blanks. Analyze instrument check standard once per 10 samples. Suggested wavelength for Mg is 279.08 nm
Mg-Tot | ICP-AES-Dgs | mg/l | Magnesium - Total | Inductively Coupled Plasma (ICP) Method (Total Metals after Rigorous Digestion) | Spectroscopy | SM 3120 B | APHA 2012 | Samples are preserved with 2mL concentrated HN03 per litre. A sample aliquot is digested with HNO3 and evaporated to near dryness. The residue is taken up in HCl and again digested to near dryness. The residue is dissolved in one-tenth of the aliquot volume of deionised water. The emission is measured spectrophotometrically at 279.6 nm and compared with standard solutions.
Mg-Tot | Mg-CALC-H-Ca | mg/l | Magnesium - Total | Calculation Method (Mg) | Calculation | SM 3500-Mg B | APHA 2012 | By Calculation following Total Hardness and Total Calcium determinations.
Mg-Tot | Mg-COL-PHOT | mg/l | Magnesium - Total | Palintest Photometer Method - Magnesium (MAGNECOL) | Colorimetry | PHOT.21.AUTO | PALINTEST 2013 | The Palintest Magnecol test is based on a simple colorimetric procedure. Magnesium reacts with an organic reagent to produce an orange coloured complex. Using the measuring syringe take a 1 ml sample of the water under test. Transfer to the round test tube and make up to the 10 ml mark with deionized water. Add one Magnecol tablet, crush and mix to dissolve. Stand for five minutes to allow full colour development and the slight turbidity to clear. Take photometer reading in usual manner.~r~n~r~nTesting range is 0 - 500 mg/l
Mg-Tot | T-COL-EDTA-EBT | mg/l | Magnesium - Total | Colorimetric Titration with EDTA using Eriochrome Black T as Indicator | Titration | SM 2340 C | APHA 2012 | A sample is preserved in the field at 4°C. The pH of the sample aliquot is adjusted to 10.0 ± 0.1 with a buffer (NH4Cl, NH4OH and Mg EDTA salt) solution; an indicator, Eriochrome Black T, is added and the aliquot then is slowly titrated with EDTA within five minutes to avoid precipitation. The colour changed from a wine red to a blue colour (a fluorescent light is highly recommended to see the complete disappearance of the red). Interference: Ca ion concentration of 1 mg/L, total heavy metal ion concentrations of 0.5 mg/L
O2-Dis | O2-CALC-Con | mg/l | Dissolved Oxygen | Concentration calculated from Oxygen Saturation | Calculation |  |  | Calculated from % Oxygen Saturation, H2O temperature, and pressure at site.
O2-Dis | O2-D888-C | mg/l | Dissolved Oxygen | Dissolved Oxygen in Water - Instrumental Probe Procedure - Luminescence-Based Sensor | Spectroscopy | D888 C | ASTM 2012
O2-Dis | O2-ISE | mg/l | Dissolved Oxygen | Membrane Electrode Method | Electrochemical Analysis | SM 4500-O G | APHA 2012 | Measurements are made in the field using a calibrated dissolved oxygen meter. The electronic cell, containing a gold cathode and a silver anode, is covered with an Oxygen permeable membrane to prevent interferences. Upon entering the cell, the Oxygen is reduced and the current is directly proportional to the oxygen concentration at a specific temperature. The DO ranges are usually automatically temperature corrected (between -50C and + 40°C), as are the solubility and permeability of the probe, while salinity usually needs manual compensation. Regular calibration against the Winkler Titration Method is recommended or by exactly following the manufacturer's procedure. (DO meter is calibrated in air saturated with moisture and the reading is taken when steady condition is obtained).
O2-Dis | O2-T-COL-MILLER | mg/l | Dissolved Oxygen | Miller Modification Method | Titration | JIS K 0102 32.2 | JSA 1998 | Seclude Samples from air by means of liquid paraffin, add potassium sodium tartrate-sodium hydroxide solution and 3,7-bis(dimethylamino)-phenothiazin-5-ium chloride (methylene blue), titrate it with ammonium iron (II) sulfate solution to determine dissolved oxygen.
O2-Dis | T-COL-I-AZD | mg/l | Dissolved Oxygen | Iodometric Method with Azide Modification | Titration | SM 4500-O C | APHA 2012 | A sample is collected and analysed in the field or preserved at 4°C and analysed as soon as possible. A sample aliquot is treated with manganous sulphate (MnSO4) and a strong alkaline iodide reagent (NaN3, NaI and NaOH). The manganous hydroxide formed reacts with the dissolved oxygen to form a brown precipitate (MnO(OH)2 (a KF solution is added if ferrous ions are present). Upon acidification, in the presence of iodide, the iodine liberated is equivalent to the dissolved oxygen originally present in the sample. The iodide is titrated with a standardized sodium thiosulphate solution (Na2S2O3), starch is used as an indicator.~r~n Interferences: ferrous ion at 1 mg/L (if KF is added the interference level for ferrous ion is 100-200 mg/L), SO3 ion, S2O3 ion, polythionate ions, free Cl2, OCl ion, oxidizing and reducing agents, and turbidity.
pH | pH-COL | --- | pH | Colourimetric Method | Colorimetry | VI-1 9.3 | JWWA 2001 | The pH is measured adding an universal indicator (phenolphthalein/methyl red/thymol blue) or using a pH "non bleeding" strip, wait for colour development and compare the colour of the reaction to the coloured chart of the appropriate indicator used. Interference: colour, turbidity, salinity, colloidal matter and various oxidants and reductants can interfere with the indicator.
pH | pH-POT | --- | pH | Electrometric Method | Electrochemical Analysis | SM 4500-H+ B | APHA 2012 | The pH meter, with a glass combination electrode and automatic temperature compensation probe, is calibrated with buffers at pH 4.7 and 10 at 25°C. The pH and temperature values of the sample aliquot are recorded upon reading. The precision is within 0.1 pH units.
pH | pH-POT-insitu | --- | pH | Electrometric Method (in situ) | Electrochemical Analysis | SM 4500-H+ B | APHA 2012 | ph Meter, (field measurement)
pH | pH-POT-25 | --- | pH | Electrometric Method (25°C) | Electrochemical Analysis | ISO 10527 | ISO 1996 | The temperature of a sample is stabilised at 25°C. A calibrated glass electrode in combination with a reference potential, provided by a saturated calomel (Hg2Cl2) electrode, is used for pH determination. The sample aliquot is read at 25°C.~r~n~r~nThe precision is within 0.1 pH units.
Sal | SAL-CND | ppt | Salinity | TDS-Salinity-Conductivity Meter at 25°C | Electrochemical Analysis |  | Orion Research Inc. 1996 | Specific Conductance of a solution is the ability of the solution to carry electric current and has some relationship to the Total Ionic Concentration of the solution. The salinity is measured through a calibrated TDS-salinity-conductivity meter (Orion 105 or 115, or equivalent) and corrected to 25°C, where the salinity is compared to a salinity table with a precision of 0.5% and reported in parts per thousand (ppt).~r~n The range is 0 to 80.0 ppt with a resolution of 0.1 ppt. The salinity-conductivity meter is calibrated on a per use basis.
TEMP | TEMP-BTG | °C | Water Temperature | Electronic Bathythermograph | --- | STAR 104 | Environment Canada 2007 | The electronic bathythermograph provides a direct instantaneous readout and graphical record of temperatures versus depth.
TEMP | TEMP-CND | °C | Water Temperature | Conductivity-Temperature Meter | --- | ENV 42 | Environment Canada 2007 | Water temperature is measured with a battery-operated conductivity-temperature meter calibrated by switching to an internal standard. The accuracy is ±0.5 °C.
TEMP | TEMP-DIG | °C | Water Temperature | Digital Thermometer | --- | SM 2550 B | APHA 1998 | Ambient temperature is measured with a calibrated digital thermometer in the shade, free from the influences of direct or reflected solar radiation. To reduce the error due to evaporative cooling, a dry thermometer should be used. Water temperature is measured by immersing a calibrated digital thermometer into the water sample immediately after collection.~r~n Method precision is ±0.1 °C.
TEMP | TEMP-Hg | °C | Water Temperature | Mercury Thermometer | --- | SM 2550 B | APHA 1998 | Both atmospheric and water temperature are measured upon sample collection.~r~n The atmospheric temperature is measured in a well-ventilated area and in the shade, at 1.2 to 1.5 m above the ground, using a 50°C calibrated (liquid in glass) thermometer.~r~n The water temperature is measured by immersing a calibrated thermometer into the water or by measuring the temperature immediately after collection using a calibrated thermometer.~r~n The Hg-filled thermometer has a precision of ± 0.1°C.
TEMP | TEMP-NCIR | °C | Water Temperature | Infrared (non-contact) | --- | MCode-THM03 | USGS 1998 | Air temperature, in addition to water temperature, should be measured and recorded whenever water-quality samples are collected. Water temperature must always be measured in situ and in a manner that ensures that the measurement accurately represents the intended sample conditions. Before measuring air or water temperature, inspect the liquid-in-glass thermometer to be certain that the liquid column has not separated. Inspect the glass bulb to be sure it is clean. Inspect the protective case to be sure it is free of sand and debris. Check that batteries are fully charged for thermistor thermometers or temperature sensors incorporated into other field meters.
TEMP | TEMP-ORT | °C | Water Temperature | Oceanographic Reversing Thermometer | --- | STAR 100 | Environment Canada 2007
TEMP | TEMP-pH | °C | Water Temperature | pH meter (in situ) | --- |  |  | Potentiometric or Electrochemical field measurement.
TEMP | TEMP-THERMISTOR | °C | Water Temperature | Thermistor | --- | EPA 170.1 | US-EPA 1974 | Water Temperature is measured with a battery-operated YSI thermistor (or equivalent) calibrated against a certified thermometer. Resolution is 0.1°C and accuracy is ±0.2 °C.~r~n The method range is -10 °C to +90 °C.
TEMP-Air | TEMP-Hg | °C | Air Temperature | Mercury Thermometer | --- | SM 2550 B | APHA 1998 | Air temperature is measured with a calibrated thermometer with a scale marked for every 0.1ºC, and reported in degrees Celsius.~r~n The method precision is within 0.1°C
TEMP-Air | TEMP-THERMISTOR | °C | Air Temperature | Thermistor | --- | EPA 170.1 | US-EPA 1974 | Measurement device should be routinely checked against a precision thermometer certified by the National Bureau of Standards.
TRANS | SECCI-30cm | m | Transparency | 30 cm Secchi Disc | --- | VI-1 5 | JWWA 2001 | The depth at which a 30 cm diameter disc, painted in black and white quadrants, is no longer visible in a body of water. The procedure is to record the point of disappearance as the disk is lowered, allow it to drop a little farther, and then determine the point of re-emergence as the disk is raised. The mean of the two readings is taken as the turbidity light penetration.~r~n In turbid waters, the precision is 1 cm and in clear waters 10 cm.
TRANS | TRANS-PERCENT | % | Transparency | Per cent transmission of light | --- | STAR 124 | Environment Canada 2007 | Per cent transmission of light at a specific recorded depth using specified path lengths and filters. Profiles are taken from surface to bottom. A reading of 100% would be obtained in hypothetical non-attenuating water.
TSS | TSS-G | mg/l | Total Suspended Solids | Total Suspended Solids Dried at 103-105 °C | Gravimetric Analysis | SM 2540 D | APHA 2012 | Sample is passed through a weighed Gooch crucible with an asbestos mat. The crucible with its contents is dried in an oven at 103-105°C. The increase in weight over that of the Gooch crucible and asbestos mat represents the non-filterable residue (suspended matter).
TSS | TSS-G-180 | mg/l | Total Suspended Solids | Total Suspended Solids Dried at 180 °C | Gravimetric Analysis |  | APHA 1976 | If oil and grease are present, the sample is blended. If large particles, either floating or submerged, are present, they are excluded from the sample. A sample aliquot is passed through a pre-ignited Whatman GF/C filter. The filter containing the residue is placed in a porcelain dish, oven-dried at 180°C for 2.5 hours, cooled 15 minutes in a desiccator and weighed to a constant weight.
TURB | NEPH | NTU | Turbidity | Nephelometric Method | --- | SM 2130 B | APHA 2012 | In a Hach turbidimeter, a strong light beam is sent upwards through a transparent tube containing a shaken sample. The light, reflected at 90 degrees to the axis, is captured by photocells and their electrical response is proportional to the sample turbidity. The instrument is calibrated using a standard solution of Formazin. Standardization of the instrument uses a polyacrylic plastic rod, containing a special turbidity material, supplied with the instrument.~r~n The method detection limit is 0.02 NTU.
TURB | NEPH-JTU | JCU | Turbidity | Nephelometric Method (as Jackson Turbidity Units) | --- | SM 2130 B | APHA 2012 | A light beam is passed through the shaken sample. The light, scattered at 90 degrees to the beam-axis, is measured by photocells. The calibration of the instrument is made using a standard suspension of Formazin (the reaction product of an aqueous solutions of hydrazine sulphate (N2H4.H2SO4) and hexamethylenetetramine solutions). Standardisation of the instrument utilises a polyacrylic plastic rod containing special turbidity material.~r~n The method detection limit is 0.02 Jackson Turbidity Units (JTU).
TURB | NEPH-Ratio | NTU | Turbidity | Nephelometric Method (Ratio Turbidimeter) | --- | SM 2130 B | APHA 2012 | Turbidity in water is caused by suspended or colloidal matter and consequently, light passing through matter is scattered. This characteristic of water that causes light scattering is referred to as turbidity. In the nephelometric method light scattered at 90 degrees to the incident light is measured. The whole water sample is shaken and poured into transparent cell or tube, which are allowed to sit for sufficient time to allow any air bubbles formed to escape before being placed in the nephelometer. A strong light beam is sent through the sample and the suspended particles reflect the light. The light which is reflected at 90 degrees to the axis is received by photo cells and their electrical response is proportional to the amount received and hence to the sample turbidity. Calibration of the instrument is made using a standard suspension of formazin- the reaction product of aqueous solutions of hydrazine sulphate and hexamethylenetetramine. The value is reported in units of NTU (nephelometric turbidity units).~r~n Ratiometric Method: The turbidity meter utilized has additional detectors that measures forward scattered light and light transmitted through the sample. Using a ratio of the light received by the different detectors to compute the turbidity value the variability of the turbidity reading can be reduced.
TURB | NEPH-Wag | NTU | Turbidity | Wagtech Turbidimeter | --- | EPA 180.1 | US-EPA 1993 | Turbidimeter calibration: The manufacturer's operating instructions should be followed. Measure standards on the turbidimeter covering the range of interest. Turbidities less than 40 units: Shake the sample to thoroughly mix in the turbidimeter tube. Read the turbidity directly from the instrument scale or from the appropriate calibration curve. Turbidities exceeding 40 units: Dilute the sample with one or more volumes of turbidity-free water until the turbidity falls below 40 units. The turbidity of the original sample is then computed from the turbidity of the diluted sample and the dilution factor.
TURB | TURB-Vis-JTU | JCU | Turbidity | Visual Method (as Jackson Turbidity Units) | --- | SM 214 B | APHA 1976 | Turbidity measurements are based on the light path through a suspension causing the image of the flame of a standard candle to disappear, meaning to become undistinguishable against the general background.~r~nThe results are reported in Jackson Turbidity Units (JTU).
TURB | TURB-YSI | FNU | Turbidity | In situ Turbidity sensor (YSI sonde) | --- | Mcode-TS085, TS087 | USGS 1998 | Calibrate the instrument before leaving for the field. At the field site, verify that the instrument has retained its calibration within 5%. For dynamic measurements, immerse the sonde or single turbidity sensor in the water body.~r~n NOTE: USGS reports units as FNU (=NTU)
U-Tot | ICP-MS-CVD | mg/l | Uranium - Total | Inductively-Coupled Plasma Mass Spectrometry with Closed Vessel Digestion | Spectroscopy | SM 3125 B | APHA 2012 | Water samples are preserved at 2% nitric acid and digested overnight at 60°C in a closed vessel. The resulting solution is analyzed by ICP-MS.